**REQUIRED INSPECTIONS**

**Permit applicant is responsible to request all inspections be scheduled, including the Final Certificate of Occupancy/Completion.**

DECKS, POLE BARNS, LEAN TO’S, PERGOLAS, SHELTERS

* Post Hole Inspections prior to filling with concrete
* Electrical inspection if applicable by Commonwealth (316-7091) or Empire (585-798-1849)
* Final

GARAGE

* Footing BEFORE pouring concrete
* Foundation
* Framing
* Final

NEW HOME OR ADDITIONS/REMODEL

* Footing BEFORE pouring concrete
* Basement walls BEFORE pouring concrete
* Foundation BEFORE backfill
* Water line inspection
* Electrical Inspection by Commonwealth (316-7091) or Empire (585-798-1849)
* Rough Inspection (Framing, plumbing, electrical inspection)
* Fireplace
* Insulation
* Smoke & CO2 Detectors
* Final

POOLS

* Electrical Inspection by Commonwealth (316-7091) or Empire (585-798-1849)
* Final

ROOF

* Ice Shield
* Final

SHED (pre-fab)

* Final